|  |  |  |
| --- | --- | --- |
| Request No.: | **xxxxxx** |  |
| Certificate No.: | **IECEx EO XX-XX** |  |
| Status: | **Current** |  |
| Date of issue: | **DD-MM-YYYY** |  |

|  |  |  |
| --- | --- | --- |
| Equipment: | **MTL4013 Two Channel Switch/Proximity Detector Interface** | |
| Serial No.: |  | |
| Certificate No: |  | |
| Optional accessory: | **If “Yes”, describe / No** |  |
| Type of Protection: | **Intrinsic Safety** |  |
| Marking: | **IECEx EO XX-XX**  **[Ex ia] IIC**  **-20°C ≤ Ta ≤ +60°C**  **Um = 250V** |  |
| Manufacturer: | **Measurement Technology Limited**  **Power Court**  **Luton**  **Bedfordshire**  **LU1 3JJ**  **United Kingdom** |  |
|  |  |  |
| has been repaired, revised, overhauled, modified | **the equipment still complies with the restrictions imposed by IEC 60079-19 and the type of protection standards to which it was manufactured, but has not been confirmed as complying with the schedule drawings or manufacturer’s specification** | Изображение выглядит как стол  Автоматически созданное описание |
| has been repaired, revised, overhauled, modified | **the equipment still complies with the restrictions imposed by IEC 60079-19, the type of protection standards to which it was designed and with the schedule drawings or manufacturer’s specification** | Изображение выглядит как стол  Автоматически созданное описание |

|  |  |  |
| --- | --- | --- |
| SPECIFIC CONDITIONS OF USE: | **If “Yes”, describe / No** |  |

|  |  |
| --- | --- |
| STANDARDS:  The equipment and any acceptable variations to it specified in the schedule of this certificate and the identified documents, was found to comply with the following standards: | |
| IEC 60079-0:2000  Edition:3.1 | Electrical apparatus for explosive gas atmospheres - Part 0: General requirements |
| IEC 60079-11:1999  Edition:4 | Electrical apparatus for explosive gas atmospheres - Part 11: Intrinsic safety 'i' |
| This Certificate does not indicate compliance with safety and performance requirements other than those expressly included in the Standards listed above. | |

|  |  |  |
| --- | --- | --- |
| Certificate issued by: | **“Edil-Oral.kz” LLP**  **IECEx Certified: IECEx DEK S0026**  Republic of Kazakhstan, 060007, Atyrau city, Geolog rural district, Geolog village, DSK #7B district, Atyrau-Dossor Highway, Building 139  web site: [www.ediloral.kz](http://www.ediloral.kz) | |
| Approved for issue on  behalf of the EO: | **xxxxxx** |  |
| Title: | **Ex Responsible Person** |  |
| Signature: | **xxxxxx** |  |
| Date: | **DD-MM-YYYY** |  |